## Sheet1
Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2 | Project :- 41 ZILLENIA PHASE 2
Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING | Selected Group :- C BLDG FIRE FIGHTING
Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty | Material/Labour Qty
Taskno | TASKNM | Unit_Name | VOLOFWORK | volofworklab | Material_No | ML_Name | ML_Unit | Qty_Required | Price_expected | Tree_Id | PriceExpected_Basic | Type | Tax_Scheme_Id | Tax_Amt | Tax_Scheme_Name
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166970 | 12V 7Ah Battery for Fire Panel | Nos | 1 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 1.2600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166984 | 2 core 1.5 sq. mm cable for Detector | Rmt. | 30 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 6369.3000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166945 | 3 Core X 10 Sqmm Al Armoured Cable | Rmt. | 100 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 3.6000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166944 | 3 Core X 70 Sqmm Al Armoured Cable | Rmt. | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 7.2000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166946 | 7 Core X 1.5 Sqmm Cu Flexible Cable | Rmt. | 10 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 1.8000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166869 | ABC type 6 kg capacity Fire Extinguisher With ISI Mark | Nos | 34 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 21.0600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166924 | Air Release Valve 25 mm | Nos | 2 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 1.6200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166923 | Ball Valve 20 mm | Nos | 34 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 21.0600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166922 | Ball Valve 25 mm | Nos | 2 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 10.9800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166900 | Butterfly Valve 100 mm | Nos | 6 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 11.7000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166899 | Butterfly Valve 150 mm | Nos | 12 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 4.8600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166902 | Butterfly Valve 65 mm | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166901 | Butterfly Valve 80 mm | Nos | 2 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166947 | Cable - 2 Core 1.5 Cu Flexible cable | Rmt. | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 7.2000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166969 | Cable For 10 Zone Talk Back System | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.1800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166968 | Cable For 28 Zone Talk Back System | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166948 | Cable Gland | Rmt. | 7 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 2.5200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166949 | Cable Lugs | Rmt. | 21 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 7.5600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166943 | Cable tray - 150 mm X 50 mm with all accessoceries | Rmt. | 10 | 0.0000 | 821.001.001.003.018.002. | 0.0000 | Labour | 416 | 0.0000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166942 | Control Panel for fabricated out of 14 SWG | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.1800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166871 | DCP type 6 kg capacity Fire Extinguisher With ISI Mark | Nos | 2 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 1.0800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166983 | Fault Isolator | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 28.9800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166964 | Fire Alarm Panel 10 ZONE For Talk Back System | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.1800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166963 | Fire Alarm Panel 28 ZONE For Talk Back System | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166978 | Fire Alarm Pannel - 10 Loop | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166980 | Fire Alarm Pannel - 4Loop | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.1800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166979 | Fire Alarm Pannel - 6 Loop | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.1800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166885 | Fire hose pipe, 63mm dia x 15 mtr. long with ss coupling | Nos | 42 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 23.5800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166876 | GI CLASS C PIPES 100 MM | Rmt. | 162 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 204.1200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166875 | GI CLASS C PIPES 150 MM | Rmt. | 498 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 330.4800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166874 | GI CLASS C PIPES 200 MM | Rmt. | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 4.3200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166882 | GI CLASS C PIPES 25 MM | Rmt. | 846 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 1932.1200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166881 | GI CLASS C PIPES 32 MM | Rmt. | 96 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 464.4000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166880 | GI CLASS C PIPES 40 MM | Rmt. | 90 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 176.0400 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166879 | GI CLASS C PIPES 50 MM | Rmt. | 162 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 340.2000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166878 | GI CLASS C PIPES 65 MM | Rmt. | 84 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 207.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166877 | GI CLASS C PIPES 80 MM | Rmt. | 138 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 275.4000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 162469 | HEAT DETECTOR | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 146.5200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166974 | Hooter | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 9.7200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166886 | Hose Reel with Drum and mounting arrangement | Nos | 34 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 21.0600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166887 | M.S. Hose box to accommodate 1 lengths of hose pipes | Nos | 42 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 23.5800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166973 | MCP | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 9.7200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166981 | Network Card | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.7200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166909 | Non return valve 100 mm dia. | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.5400 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166906 | Non return valve Swing check PN16 100 mm dia. | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.7200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166905 | Non return valve Swing check PN16 150 mm dia. | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 1.0800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166904 | Non return valve Swing check PN16 200 mm dia. | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166953 | Providing & fixing Air Cushion tank (Air - vessel) 250 mm d | Nos | 1 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166971 | Pvc Junction Box | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 596.8800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166892 | Set to operate at 68OC - Extended Sidewall | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 126.9000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166893 | Set to operate at 68OC - Pendent/Upright | Nos | 356 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 471.9600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166894 | Set to operate at 68OC - Sidewall | Nos | 28 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 400.8600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166957 | SITC of 100mm dial size pressure gauges | Nos | 5 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.5400 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166956 | SITC of 100mm dial size pressure gauges (Glicerine Field) | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 2.1600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166941 | SITC of 2.5 SQ MM ISI Mark cable Booster Starter 5hp | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 7.2000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166940 | SITC of 3 Core x 10 SQ MM ISI Mark Cable Booster 12.5 hp | Nos | 1 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 43.2000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166938 | SITC of 3 Phase Electric Starter For Booster Pump 12.5 HP | Nos | 1 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166939 | SITC of 3 Phase Electric Starter For Booster Pump 5 HP | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.1800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166935 | SITC of booster pump 12.5 HP | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166936 | SITC of booster pump 5 HP | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.1800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166914 | SITC of CI Strainer 200mm Dia | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166932 | SITC of electric disel main fire pump | Nos | 1 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.1800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166931 | SITC of electric driven main fire pump | Nos | 1 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166934 | SITC of electric jockey pump | Nos | 1 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166951 | SITC of Expansion Rubber Bellows-PN16 - 100 mm dia | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.7200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166950 | SITC of Expansion Rubber Bellows-PN16 - 150 mm dia. | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 1.0800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166958 | SITC of Installation Valves / Alarm Valve | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.7200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166960 | SITC of MS steel for supports of fire hydrant network | KG | 100 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 63.0000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166959 | SITC of Pressure Switch | Nos | 3 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 1.8000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166918 | SITC of sluice valve 200mm Dia | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166962 | SITC of Support for Sprinkler system | Nos | 1 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.1800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 162468 | SMOKE DETECTOR | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 411.6600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166883 | SS Hydrant Valve as per, Type-A Single headed, 63 mm dia. | NOS | 42 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 23.5800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166884 | SS Branch pipe with nozzle as per IS:903 | Nos | 42 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 23.5800 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166890 | Supply and installation of 3 Way fire brigade inlet | Nos | 2 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.9000 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166889 | Supply and installation of 4 Way fire brigade inlet | Nos | 2 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 0.3600 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166967 | Talkback unit (MCP + Hooter) | Nos | 17 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 1.6200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166966 | Talkback unit (MCP + Hooter)WITH LMT | Nos | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 9.7200 | C + SGST 18% I/P
730915 | C BLDG FIRE FIGHTING | JOB | 1.0000 | 1.0000 | 166961 | Wrapping coating for underground Pipe - If required | Rmt. | 0 | 1.1800 | 821.001.001.003.018.002. | 1.0000 | Labour | 416 | 27.0000 | C + SGST 18% I/P